## README
Guide to Use The IOGenerator Engineering Tools
Filling up the excel file:
1 | . | Please enter your IO data into EVERY column on the relevant TYPE of the type sheet*
2 | . | Fill the first column with "TYPE" (without " ") on every row that has IO Data
3 | . | Put the ExcelMaster_IOGenerator.xlsx file on the same folder as the IOGenerator.exe file
4 | . | Execute the IOGenerator.exe
* |  | These type sheet are:
|  |  | Sheet | Type
|  | - | DI | Digital Input (NPAS_DI_STS Only)
|  | - | DO | Digital Output (NPAS_DO_STS Only)
|  | - | AI | Analog Input (NPAS_AI_ANLG Or NPAS_AI_TEMP Only)**
|  | - | AO | Analog Output (NPAS_AI_ANLG Only)
|  | - | PVI | NPAS_PVI**
|  | - | MLD | NPAS_MLD**
|  | - | PID | NPAS_PID**
|  | - | SIO## | NPAS_SIO##
If you still do not have any reference to analog range and engineering unit, please DO NOT leave it empty (fill with e.g, 0, 100, and %)
** |  | For analog input, please specify ANLG_IN_TYPE (I_Anlg or I_Temp)
Using the output file:
1 | .

## MASTER
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT

## DI
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
DI | LALL_9056A | Level Lo Lo
DI | LAHH_9056A | Level Hi Hi

## DO
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT

## AI
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
AI | FD_001 | FireDetector | [8 empty] | I_Anlg | 0 | 100 | %

## AO
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
AO |  |  |  |  | CV_001 | Control Valve 001 | [8 empty] | 0 | 100 | %

## PVI
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
PVI | LT_004 | Level Transmitter | [8 empty] | I_Anlg | 0 | 5 | m

## MLD
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
MLD |  |  |  |  | P_5505 | Pump Hz | [8 empty] | 0 | 50 | Hz

## PID
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
PID | LT_552 | Level Tank 552 |  |  | LCV_552 | Level Control Valve Tank 552 |  |  | LCV_552 | Level Control Valve PID | I_Temp | 0 | 5 | m | 0 | 100 | %

## SIO22
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
SIO22 | ZSO_555 | Valve 555 Open Status | ZSC_555 | Valve 555 Close Status | XVO_555 | Valve 555 Command Open | XVC_555 | Valve 555 Command Close | XV_555 | Valve 555

## SIO12
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
SIO12 | ZS_551 | Valve 551 o/c status |  |  | XVO_551 | Valve 551 command open | XVC_551 | Valve 551 command close | XV_551 | Valve 551

## SIO21
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
SIO21 | ZSO_552 | Valve 552 Open Status | ZSC_552 | Valve 552 Close Status | XVC_552 | Valve 552 Command |  |  | XV_552 | Valve 552

## SIO11
CATEGORY | TAG_IN1 | DESC_IN1 | TAG_IN2 | DESC_IN2 | TAG_OUT1 | DESC_OUT1 | TAG_OUT2 | DESC_OUT2 | NPAS_SPECIFIC_NAME | NPAS_SPECIFIC_DESC | ANLG_IN_TYPE | ANLG_IN_RANGE_LO | ANLG_IN_RANGE_HI | ANLG_IN_UNIT | ANLG_OUT_RANGE_LO | ANLG_OUT_RANGE_HI | ANLG_OUT_UNIT
SIO11 | ZS_554 | Valve 554 Open Status |  |  | XVC_554 | Valve 554 Command Open |  |  | XV_554 | Valve 554